SUBMERSIBLE MIXER

# APPLICATION

☆ Wastewater treatment of any industries

☆ River,ponds,lakes dredging

☆ Artificial water flow of amusement facilities

☆ Mix and agitate impurities in the water

# MOTOR SPEC

☆ Voltage: 380V - 3phase - 50Hz

☆ Insulation: F

☆ Motor Protection: IP68

☆ Built in motor overload protector

| Model | Output |  | Capacity | Flow Speed |
| --- | --- | --- | --- | --- |
|  | KW | HP | M3/h | M/s |
| MIX-0.4 | 0.4 | 0.55 | 108 | 1.78 |
| MIX-0.75 | 0.75 | 1 | 192 | 2.02 |
| MIX-1.5 | 1.5 | 2 | 270 | 2.5 |
| MIX-2.2 | 2.2 | 3 | 408 | 3.5 |